S444 Reaction cross section – Discussion during R3BWeek

---
Q1: In S467 empty runs were problematic. How about substracting different target runs?
New “empty” runs = runs with 5.4mm carbon target
New “thin” target = 0.534 cm
New “thick” target = 1.6477 cm
Consistent with the measurements when using “true” empty runs, slightly lower values.
Larger error bars. This may be because of higher statistics in the “true” empty runs

---
Q2: You use the same sigma cut (3.5) sigma for all beam energies. What if you use a dynamic cut?
400 AMeV
With diagonal cut in gray: no difference to the fixed sigma cut
800 AMeV

---
Q3: Did you check the beam rate? Maybe this explains the minor values at 800 AMeV
550 AMeV
Target runs:
Selected events:
→ tpat != 0
→ hitnr start = 1
650 AMeV
Binsize = 1 second

---
Empty runs

---
Q4: Have you plot TOF PadID vs time of flight? In S467 the beam was striking ROLU. This could affect measurements
Applying strict cuts on charge of incoming ion and MW0 x-y cut

---
Empty runs
Known issue of 5 ns jump
Wrong GLAD settings ...

---
Ratio survived ions vs x position at target
Red: ratio suvived vs incoming carbon, outside MW0 -x cut
Green: ratio survived vs incoming carbon, inside MW0-x cut
Black: ratio survived vs incoming carbon both inside and outside MW0 -x cut
(not well visible)

---
Empty runs: