S444 analysis -update 4
11.09.2024

---
Start Detector
Multi-hit-capable, 2 PMTs,left,right
Cut:
iTraw[iDet * nChs + iCh][mult[iDet * nChs + iCh]] = hit→GetRawTimeNs();
// RawPos = TrawRIGHT - TrawLEFT corresponds to x increasing from RIGHT to LEFT
        iRawPos = iTraw[0][multR] – iTraw[1][multL];
if (iRawPos < fRawPosPar->GetParam(0))
        continue;
        if (iRawPos > fRawPosPar->GetParam(1))
Hitnr = 2
Hitnr > 2
Going to singleTcal level
(making constrain to t_diff)
Between 0.555 and 1.946
zoom in

---
Reaction cross section Z → 5 (Boron)
400 AMeV
Empty
Target

---
550 AMeV
Target
Empty

---
650 AMeV
Empty
Target

---
800 AMeV
Empty
Target

---
Cross section results Z= 6 → Z = 5
Without empty target substraction:
Energy	:	Cross section: mbarn
400	79.5
550	83.9
650	81.7
800	83.0
Energy	:	Cross section: mbarn
400	89.6
550	95.9
650	93.3
800	95.4

---
Drift Times in TWIM MUSIC
Calibration of x position in TWIM Music done by:
Interpolate x position on anode by x_MW1 &2
Plot x_pos_anode vs drift time
Fit with x_pos = v*drift_time + c
TWIM
MW2
e- drift velocity ~ 0.005-0.006cm /ns
MW1
Why don’t we have negative values of twim times? Or why are they limited by around 32k?
Timining concept - “window of interest”,see : https://www.mesytec.com/products/datasheets/MDPP-16_SCP-RCP.pdf

---
Time diff between two hits in anodenr = 10 vs overall meas. Charge (a.u.!)
400 AMeV
650 AMeV
550 AMeV
800 AMeV

---
Time diff between two hits in anodenr = 10 vs overall meas. Charge (a.u.!)
Cut: E1 > E2
Sorting by energy
400 AMeV
650 AMeV
550 AMeV
800 AMeV

---
Overall charge (a.u.) vs abs(t_diff), for anode = 10
400 AMeV
650 AMeV
550 AMeV
800 AMeV

---
abs(energy_diff) vs abs(t_diff), for anode = 10
400 AMeV
650 AMeV
550 AMeV
800 AMeV

---
How does the energy distribution look here?
You should select E1, not E2 (noise, delta electrons...)
800 AMeV

---
How can I have events with t_ref/t_trig in TWIM, but no energy deposition?
Old E-Mail from Julien:
This is something which can happen if an ion came just befor your window of interest. It internally triggers the MDPP-16, which treats the data.until 2 x shaping times. during that time period, the module get unavailable and cannot operate anymore. Thus, there is a slight change to miss the good guy which woulld come in the time interval when the module is in actual dead time.